## Moos-3 Study_Final
MSI Analytical Lab
FIA Nutrient Analysis Results
Investigator: | Moos-3 Study | Analysis Date: | 2018-07-17
Sample Batch: | N/A | Samples Run: | 0
Data File: | 2018-7-17_Moos-3 Study | Analyses Charged: | 0
Micromolar
Sample ID | Phosphate | Silicate | Nitrite | Nitrite+Nitrate | Ammonia
Check Standard 6 | 4.0112 | 20.1143 | 2.0002 | 5.9937 | 3.913
DI Spike | 4.0112 | 20.2794 | 2.0084 | 6.0166 | 3.9534
SW Spike | 3.9559 | 20.4725 | 2.0546 | 5.9017 | 4.0443
Nitrite 20uM |  |  | 20.0957 | 20.1111
Nitrate 20uM |  |  | 0.019269 | 19.965
Cadmium Column Efficiency % |  |  |  | 99.27%
Moos -3 | 1.7006 | 29.196 | 3.6253 | 25.3287 | 4.1553
Moos -3 | 1.7024 | 29.196 | 3.6521 | 25.5516 | 4.0645
Moos 3 expected value | 1.6 | 30.5 | 3.54 | 26.6 | -
% of expected | 106.4% | 95.72% | 103.2% | 96.06% | -
Moos -3_Spike 7 | 9.737 | 68.7654 | 7.8092 | 36.6711 | 12.6804
Moos -3_Spike 7 | 9.7185 | 68.5174 | 7.7831 | 36.5111 | 12.6804
Spike 7 expected value | 8 | 40 | 4 | 12 | 8
Spike Recovery | 100.2% | 98.3% | 103.3% | 91.33% | 107.7%
Check Standard 6 | 3.9928 | 20.3619 | 2.0165 | 5.9937 | 3.9938
Check Standard 7 | 8.0357 | 40.2619 | 4.1084 | 12.0329 | 8.4586
Check Standard 9 | 20.0921 | 60.832 | 10.0072 | 29.7727 | 20.3906
Actual value (micromolar):
Method Detection Limit | 0.1 | 1 | 0.1 | 0.2 | 0.1
Check Standard 6 | 4 | 20 | 2 | 6 | 4
Check Standard 7 | 8 | 40 | 4 | 12 | 8
Check Standard 9 | 20 | 60 | 10 | 30 | 20
Control Spike | 4 | 20 | 2 | 6 | 4
Note: Results in Bold Face Type are less than the method detection limit.